|  | Oman LNG LLC |
| --- | --- |

Contract Title

#### Section C

QHSSE Requirements

# Contract Number Contract No.

Contents

1.	DEFINITIONS	3

2.	HSSE STANDARDS	3

3.	CONTRACTOR’S HSSE MANAGEMENT SYSTEM & CONTRACT HSSE PLAN	4

4.	SUBCONTRACTING BY CONTRACTOR	5

5.	HSSE COMPETENCE OF CONTRACTOR AND SUBCONTRACTORS	5

6.	COMMENCEMENT OF MOBILIZATION OR WORK CERTIFICATES	5

7.	PERFORMANCE MONITORING AND INCIDENT INVESTIGATION	6

8.	SITE RESTORATION	6

9.	HSE NON-COMPLIANCES	7

10.	LIFE SAVING RULES (see Attachment 3 below)	7

11.	HSE INCENTIVES	7

12.	COMPANY HSE SPECIFIC DETAILS	8

13.	ATTACHMENTS	17

# DEFINITIONS

Any and all definitions not defined in this Section C shall have the meaning ascribed to them in the CONTRACT. In this Section C, unless the context otherwise indicates or requires, the following words and expressions shall have the meaning ascribed to them:

- “ALARP” (As Low As Reasonably Practicable) means such level of reduction of risk where the cost and effort of further reduction measures becomes unreasonably disproportionate to the additional risk reduction obtained.

- “CONTRACT HSSE PLAN” has the meaning ascribed to it in Clause 3.

- “HSSE HAZARD (s)” means an object, physical effect or condition with potential to harm people, property, reputation or the environment.

- “HSSE STANDARD (s)” means, as referred to individually or collectively, HSSE policies, standards and procedures applicable to the performance of the WORK under the CONTRACT.

- “HSSE MS” or “HSSE Management System” means a system for managing HSSE that provides a structured framework of controls at all levels, to ensure that WORK is executed in accordance with HSSE STANDARDS.

(f)	“CONTRACTOR HSSE CAPABILITY” – the outcome of a HSSE capability assessment performed by COMPANY.

(g)	“FATALITY” – for the definition of a fatality the COMPANY injury/illness classification rules follow the United States of America Occupational Safety and Health Administration (OSHA) Recording Keeping Handbook (OSHA 3245-09R 2005). The OSHA terminology is “Death”.

(h)	“LOST TIME INJURY” - for the definition of a lost time injury the COMPANY injury / illness classification rules follow the United States of America Occupational Safety and Health Administration (OSHA) Recording Keeping Handbook (OSHA 3245-09R 2005). The OSHA terminology is “Days Away From Work”.

(i)	“MEDICAL TREATMENT CASE” - for the definition of a medical treatment case the COMPANY injury / illness classification rules follow the United States of America Occupational Safety and Health Administration (OSHA) Recording Keeping Handbook (OSHA 3245-09R 2005). The OSHA terminology is “Medical Treatment Beyond First Aid”.

(j)	“RESTRICTED WORK CASE” - for the definition of a restricted work case the COMPANY injury / illness classification rules follow the United States of America Occupational Safety and Health Administration (OSHA) Recording Keeping Handbook (OSHA 3245-09R 2005). The OSHA terminology is “Restricted Work Activity” and “Transfer to Another Job”.

# HSSE STANDARDS

  - All CONTRACTOR personnel engaged in the WORK shall be conversant and at all times strictly comply with HSSE STANDARDS required for all WORK at WORKSITE.

  - HSSE STANDARDS shall be in accordance with all rules and regulations and shall include the reference documentation and PPE standards as specified in this Section C, Attachment 1. Prior to mobilization CONTRACTOR shall provide COMPANY samples of its PPE for approval by COMPANY QHSSE department.

  - Where any part of the WORK is not covered by any of the HSSE STANDARDS, or when CONTRACTOR considers the HSSE STANDARDS to be inadequate, CONTRACTOR shall immediately notify COMPANY of such inadequacy. COMPANY and CONTRACTOR shall thereupon jointly develop and agree on additional or revised HSSE STANDARDS to cover and reduce the risk to the relevant part of the WORK to a level assessed ALARP by COMPANY QHSSE Manager. This shall be done prior to proceeding with the relevant part of the WORK.

# CONTRACTOR’S HSSE MANAGEMENT SYSTEM & CONTRACT HSSE PLAN

  - CONTRACTOR shall have in place and maintain for the duration of the CONTRACT a CONTRACTOR HSSE MS, which provides assurance that any CONTRACTOR WORK meets all COMPANY HSSE STANDARDS. For this purpose, the CONTRACTOR shall submit the CONTRACT HSE MANAGEMENT PLAN, get it approved by the respective COMPANY Contract Holder and Contract Owner prior to mobilization and deliver it during contract execution at the COMPANY site.

  - The scope of CONTRACTOR HSSE MS shall cover all WORK including any WORK performed by any SUBCONTRACTOR and all the interfaces between COMPANY, CONTRACTOR and SUBCONTRACTOR. As a minimum the CONTRACTOR HSSE MS shall cover identification of all HSSE HAZARDs associated with WORK to be carried out, an assessment of risk associated with the WORK, and identification of control and recovery measures, to ensure an adequate level of safety is provided by CONTRACTOR. Controls shall include but are not limited to policies, procedures, supervision, discipline competency and PPE etc.

  - CONTRACTOR’s HSSE MS shall be fully documented and effectively implemented.

  - Before mobilization of the workforce and/or equipment, CONTRACTOR shall prepare a “CONTRACT HSSE Plan” consistent with COMPANY HSSE Plan, to be approved by COMPANY. CONTRACTOR shall provide the CONTRACTOR HSSE Plan and additional information as required to COMPANY for the mobilization readiness assessment to be performed by COMPANY.

  - CONTRACTOR HSSE plan shall describe the specific actions, programs and procedures that will be implemented by CONTRACTOR to manage hazards associated with the execution of the WORK and Services under the CONTRACT.

  - CONTRACTOR HSSE plan shall include a completed detailed HEMP/Risk Assessment incorporating all activities in the scope of the CONTRACT. The hazards identified should reflect the risks associated with the critical activities. The format for the same is available in “Appendix IX of OLNG Contract HSE Management Procedure NG-P063”. CONTRACTOR shall ensure that the controls identified in the HEMP/Risk Assessment to mitigate the risks are fully implemented prior to Commencement of the WORK or services.

  - CONTRACTOR HSSE plan shall be developed in accordance with the “Appendix VI of OLNG Contract HSE Management Procedure NG-P063” and include a HSE monitoring plan.

  - CONTRACTOR shall be responsible for implementing the CONTRACT HSSE Plan and communicating its relevant parts including subsequent revisions to COMPANY.

  - CONTRACTOR shall include within the CONTRACT HSSE Plan specific reference to those activities that will be implemented to ensure and demonstrate compliance.

  - The CONTRACT HSSE Plan shall be reviewed at every stage of the CONTRACT and shall as a minimum be reviewed on an annual basis. CONTRACTOR shall report the outcome of the review of the CONTRACT HSSE Plan to the CONTRACT HOLDER and COMPANY QHSSE Manager.

  - CONTRACTOR classified as Medium or High Risk shall implement and maintain digital systems for the management of Health, Safety, Security, and Environmental (HSSE) aspects in compliance with the requirements of the Ministry of Energy and Minerals. These systems shall ensure that HSSE data, procedures, and performance are managed in a systematic, consistent, and transparent manner. The systems shall enable effective risk management and control through mechanisms that are monitorable, auditable, and capable of supporting timely and effective response to HSSE-related events.

# SUBCONTRACTING BY CONTRACTOR

  - In case the CONTRACTOR is subcontracting the contracted job from the beginning or during the execution stage, CONTRACTOR shall not use more than one (1) layer of subcontracting means any manpower coming through a subcontractor shall be a direct employee of that subcontractor. CONTRACTOR will not SUBCONTRACT any job without having prior approval from CONTRACT HOLDER. CONTRACTOR will also ensure that HSSE evaluation process will be repeated for SUBCONTRACTOR and job will only be subcontracted to a SUBCONTRACTOR found meeting the required criteria as approved by CONTRACT HOLDER.

  - CONTRACTOR shall develop a SUBCONTRACTOR Management Plan as part of the CONTRACT HSSE Plan to be approved by COMPANY that demonstrates how CONTRACTOR intends to comply with the requirements of OLNG CONTRACTORS’ HSSE Management Procedure NG-P063 whilst executing WORK. These requirements shall apply to all SUBCONTRACTOR WORK.

  - SUBCONTRACTORS shall not be allowed to mobilise or start any part of the WORK until CONTRACTOR has demonstrated compliance with the requirements of clauses 4, 5 and 6 of this Section C to COMPANY.

# HSSE COMPETENCE OF CONTRACTOR AND SUBCONTRACTORS

  - CONTRACTOR shall ensure that all CONTRACTOR and SUBCONTRACTOR personnel have and maintain the minimum HSSE COMPETENCIES as set forth in the COMPANY HSE-MS Procedure for QHSE Mandatory Training NG-P049 (see clause 13 below).

  - Further to the requirements of clause 16.1 of Section B, CONTRACTOR and SUBCONTRACTOR personnel shall undergo prior to carrying out any WORK or entering the WORKSITE, a HSSE induction provided by COMPANY.

  - CONTRACTOR shall develop a HSSE Training Matrix as part of the CONTRACT HSSE Plan, to demonstrate the available training for each CONTRACTOR and SUBCONTRACTOR position to meet the minimum HSSE COMPETENCE requirements for the WORK. CONTRACTOR shall at all times maintain an up-to-date inventory (Training Matrix) of all personnel employed under the CONTRACT, and details of the mandatory training courses they have attended, including the attendance date and furnish it to COMPANY when advised.

  - CONTRACTOR shall develop a Competence Assurance Plan to be approved by CONTRACT HOLDER which includes but is not limited to a maintained register to demonstrate CONTRACTOR and SUBCONTRACTOR personnel meet the HSSE STANDARDS and HSSE COMPETENCIES acceptable to COMPANY.

# COMMENCEMENT OF MOBILIZATION OR WORK CERTIFICATES

  - CONTRACTOR must obtain a Commencement of Mobilization Certificate (see Appendix 1 of OLNG CONTRACTORS’ HSSE Management Procedure NG-P063) from the COMPANY prior to the mobilization of its personnel, equipment or materials and start of execution of WORK at the WORKSITE.

  - CONTRACTOR shall give COMPANY reasonable advance notice for the mobilization readiness assessment.

  - CONTRACTOR is reminded of the obligations that all activities regardless of location and status undertaken as part of the WORK or services (including but not limited to material and equipment suppliers) provided under the CONTRACT shall be considered as provided by CONTRACTOR. Compliance to the HSE requirements will apply equally to all activities related to the CONTRACT.

# PERFORMANCE MONITORING AND INCIDENT INVESTIGATION

  - CONTRACTOR shall monitor and report HSSE performance to meet the requirements set by COMPANY. All data collected shall have a clear audit trail which shall be verified by COMPANY on a regular basis. The information shall be trended and used in management reviews by both CONTRACTOR and COMPANY. Corrective action shall be taken as necessary by CONTRACTOR and as appropriate by COMPANY to rectify declining or sub-standard HSSE performance.

  - CONTRACTOR shall regularly monitor and review HSE performance as per the agreed CONTRACT HSE Management Plan and shall complete and submit the ‘Health and Safety Statistics - Monthly HSE Report (see Appendix XIII of OLNG CONTRACTORS’ HSSE Management Procedure NG-P063) to the CONTRACT HOLDER on a monthly basis.

  - CONTRACTOR shall develop a CONTRACTOR HSSE Monitoring Plan as part of the CONTRACT HSSE Plan to be approved by COMPANY that demonstrates how CONTRACTOR intends to comply with the CONTRACT requirements. The CONTRACTOR Monitoring Plan shall apply to all SUBCONTRACTOR activities and CONTRACTOR suppliers.

  - CONTRACTOR shall also submit progress update on CONTRACTOR HSE Monitoring Plan on quarterly basis (see Appendix VII of OLNG CONTRACTORS’ HSSE Management Procedure NG-P063).

  - COMPANY reserves the right at any time to undertake HSSE audits in order to ensure that CONTRACTOR is carrying out its responsibilities under the applicable HSSE policy and procedures. This includes the CONTRACT HSSE Plan and its compliance with the COMPANY HSSE Plan. CONTRACTOR shall provide such facilities, personnel and assistance as may be necessary for COMPANY to undertake such audits.

  - All incidents (unsafe acts, unsafe conditions, near miss, injuries or non-compliance with Life Saving Rules and Section C) within the CONTRACTOR control shall be reported and investigated by CONTRACTOR in compliance with the COMPANY’S Incident Management System (see Appendix 1 of Incident Investigation and Learning Procedure NG-P015).

  - COMPANY reserves the right to issue a HSE Default for the non-reporting of recordable cases by CONTRACTOR.

  - EMERGENCY RESPONSE:

CONTRACTOR shall comply with COMPANY Emergency Response Requirements as stipulated in  COMPANY Emergency Response Plan.

# SITE RESTORATION

  - Upon Completion of the WORK or Services, CONTRACTOR shall satisfactorily restore the WORKSITE including any areas of COMPANY concession and any premises thereon, used by CONTRACTOR to perform the WORK or Services. CONTRACTOR shall ensure COMPANY’S satisfaction on this restoration (Where Applicable).

# HSE NON-COMPLIANCES

  - In the event that COMPANY identifies that CONTRACTOR has failed to comply with the approved CONTRACT HSE MANAGEMENT PLAN, or other CONTRACT HSE requirements, then COMPANY reserve the right to issue CONTRACTOR with an HSE default notice retrospectively.

  - A HSE default notice is any written notification issued by COMPANY detailing specific aspects of any act, WORKS/services pertaining to the WORK that do not comply with either the latest approved CONTRACT HSE management plan or other CONTRACT HSE requirements

  - If as a result of a COMPANY led investigation, it is discovered that there has been a non-conformance related to HSE reporting of recordable cases, this will attract a specific consequence default. The default will be held against the CONTRACTOR and not against CONTRACTOR employees.

  - Repeated failures by CONTRACTOR to comply with CONTRACT HSE requirements may result in the removal from WORKSITE of the relevant CONTRACTOR’S supervisory and/or managerial personnel.

  - Where the repeated incidences of HSE default occur throughout the duration of the CONTRACT then the following remedies are available to COMPANY:

| S/N; HSE Default; Penalty. 9.5.1; Repeated Recurrence; Increased supervision by COMPANY at the cost of CONTRACTOR. COMPANY may invoke clause 35 of Section B. 9.5.2; Persistent non-conformance; COMPANY may invoke clauses 20 and 21 of Section B. |  |
| --- | --- |

# LIFE SAVING RULES (see Attachment 3 below)

  - CONTRACTOR shall fully implement COMPANY Life Saving Rules. The Life Saving Rules set out clear and simple “dos” and “don’ts” covering activities with the highest potential safety risk. They help to make sure that rules are followed, and people are protected. CONTRACTOR shall adopt and ensure that the rules are embedded in their operations (see clause 13 below).

  - Serious consequences associated with breaking the above rules shall apply. Non-compliance with any of Life Saving Rule(s) shall be investigated by the CONTRACTOR to the satisfaction of the COMPANY. If a rule-breaker is aware of the Life Saving Rules or a required procedure and does not comply, appropriate disciplinary action shall be taken by the CONTRACTOR to the satisfaction of the COMPANY, including removal of access to WORKSITE, in accordance with Oman LNG Life Saving Rules Procedure NG-P085.

  - CONTRACTOR shall formally advise its SUBCONTRACTOR of the importance of following the Life Saving Rules through respective CONTRACTOR HSE CONTRACT terms and conditions.

# HSE INCENTIVES

  - Where applicable, CONTRACTOR shall allocate adequate budget and resources available to implement a HSE recognition and reward program to recognise and acknowledge exemplary HSE behaviours. Awards shall be of such a nature that they nurture a pro-active HSE culture and promote positive peer pressure.

  - The HSE recognition and reward program shall for example cover the following:

    - Safe worker of the month;

    - Best Safety Walk Report of the month

    - Best Near Miss report of the month

    - Best drivers of the month

    - Celebrations and Reward on achieving LTI free milestones;

    - Other incentives to be specified by CONTRACTOR.

  - The criteria for all awards shall be documented and the HSE recognition and reward program shall be reviewed and approved by COMPANY.

# COMPANY HSE SPECIFIC DETAILS

  - PPE Standards

    - The Personal Protective Equipment (PPE) shall conform to the ANSI, BS, BSEN standards as detailed in Personal Protective Equipment HSS-P008 (Refer to clause 13 below). Fire Retardant Clothing Coveralls is also a requirement for WORKSITE Plant/Operational Area.

    - Part of the HSSE Commencement Certificate checklist is for the CONTRACTOR to provide the required PPE compliant as stated above and in line with the HSE Risk Assessment of the WORK.

    - Specialised PPE standards not covered in the relevant Reference Documents in Attachment 1 below to be agreed with COMPANY HSSE Team.

  - Permit To Work

    - All WORK to be provided as part of the CONTRACT shall be prepared and executed in compliance with the Oman LNG Permit To Work procedure. Deviation from the COMPANY Permit To Work procedure is not allowed.

    - The CONTRACTOR shall provide staff for the Permit To Work roles defined in the Permit To Work procedure;

a.	Permit Applicant – the person authorised to prepare a permit for a work party, describing the hazards and the controls required to manage the risk to ALARP.

b.	Permit Holder – the person responsible to explain the hazards and controls to the work party and see to it that the work party adheres to the controls.

    - CONTRACTOR Permit Holder (Supervisor, Senior Technician) must be able to speak and understand the language of the people working under the permit to explain the safety controls stipulated in the work permit and the associated documents.

    - CONTRACTOR Permit Applicant, Permit Holder and Supervisor must be able to speak and understand English language to converse with the COMPANY representatives on the work permit and the associated documents.

    - CONTRACTOR shall at all times comply with the Qalhat Safety Regulations for Work Under Permit QHSSE-P221.

    - The CONTRACTOR shall work with a valid work permit for which it is required that the Permit Holder provides an effective toolbox talk to the work party in which the Permit Holder identifies and communicates the risks involved in carrying out the activity and the corresponding controls to the personnel that will be carrying out the WORK.

    - The CONTRACTOR shall verify that the work party understands the hazards and controls associated with the activity and the effectiveness of the implementation of the controls.

    - COMPANY reserves the right to consider the failure to deliver an effective toolbox talk as a Life Saving Rule violation by the CONTRACTOR supervisor and reserves the right to apply consequence management accordingly.

  - HSE Organization

    - CONTRACTOR shall provide safety supervision by ensuring a ratio of 1 HSE Advisor for every 50 manpower; 1:25 ratio amber banded.

    - CONTRACTOR to ensure that any change in the position and number of HSSE staff required shall be agreed and approved by the COMPANY.

    - COMPANY reserves the right to receive CVs and interview/asses/approve or disapprove candidates proposed by CONTRACTOR for HSSE positions. CONTRACTOR shall only mobilise HSSE Staff on COMPANY business who have passed the COMPANY assessment and have been approved by COMPANY QHSSE Manager.

    - CONTRACTOR agrees that the CONTRACTOR HSSE Staff will not be removed from the site unless otherwise authorized in writing by COMPANY. Notwithstanding the foregoing, CONTRACTOR shall have the right to remove CONTRACTOR HSSE Staff from the site in the event of termination or resignation, provided that prior to removal from site, CONTRACTOR advises COMPANY and provides the name and CVs of the replacement HSSE staff.

    - CONTRACTOR shall upon COMPANY request, demonstrate how its HSSE department is organised. In addition to the numbers of employees dedicated to the delivery of HSSE. The overall command and control of HSSE should be clearly indicated within CONTRACTOR’S overall organisational structure.

    - For each position dedicated to the implementation of HSSE, the principal roles and responsibilities of that position shall be documented. All CONTRACTOR management and supervisory job descriptions shall also have included in them specific HSSE accountabilities.

  - Road Safety

    - CONTRACTOR shall comply with COMPANY Road Safety Policy NP037 and Road Safety Procedure NG-P005 when undertaking CONTRACT related road transport activities. All drivers’ vehicles assigned to this CONTRACT shall comply to driver and vehicle standards in this procedure. CONTRACTOR shall ensure that all its SUBCONTRACTORS receive and acknowledge the formal HSE requirements appropriate to the scope of work.

    - In Vehicle Monitoring System (IVMS): CONTRACTOR shall implement this system for all its vehicles working assigned to this CONTRACT in line with COMPANY Road Safety Procedure NG-P005. The IVMS device to be fitted in vehicles shall be approved by COMPANY and managed within an IVMS/DMS management system.

  - Heat Stress

Due to the exposure to extremely high temperatures when working indoors or outdoors, CONTRACTOR shall apply working hours in compliance with local regulations and as specified in Heat Stress Procedure HSO-P008. CONTRACTOR shall develop a heat related illness prevention programme and provide all heavy machinery including but not limited to cranes, forklifts, and excavators with operator cabins fitted with air-conditioning.

  - Fatigue

    - CONTRACTOR shall comply with Fatigue Management Requirements as stipulated in COMPANY Shutdown HSE Plan.

    - The risk to the health and safety of the workforce from fatigue shall be included in the HEMP and specifically addressed via:

    - HSE Critical Positions whose work arrangements pose a risk of fatigue shall be identified and recorded.

    - Fatigue Risk Management Plan for each HSE Critical position shall be defined and include practical measures to deal with fatigue related issues.

    - Fatigue Risk Management awareness training shall be given to supervisors who need to apply the Fatigue Risk Management Plan.

    - The potential contribution of fatigue shall be included as a consideration in the investigation of significant and high potential incidents.

  - Dropped Objects

    - CONTRACTOR shall comply with the provisions in Dropped Object Management Guide (HS-P003) and contractor compliance will be assessed through CONTRACTOR HSE Management Process.

    - CONTRACTOR shall develop a Dropped Objects Prevention Plan as part of the CONTRACT HSSE Plan to be approved by COMPANY that demonstrates how CONTRACTOR intends to prevent dropped objects. The Dropped Objects Prevention Plan shall implement the DROPS “Recommended Guidelines” for the Safe Use of Tools and Equipment at Height.

    - The Dropped Objects Prevention Plan shall include but is not limited to

- A schedule for WORKSITE inspections with a checklist for potential dropped objects.

- Conduct regular Training and Awareness Campaign.

- Nominate DROPS champions to supports the full implementation of the DROPs Prevention Plan.

- Provision of tethered tools, tool lanyards, boxes/bags, to prevent tools to be dropped from height.

- CONTRACTOR shall provide a nominal price for tool lanyards.

- Means to store materials or tools at height like baskets and bags.

- Provision of temporary flooring like tarpaulin or plywood to prevent objects to fall from height through open floors.

  - Waste Management

    - CONTRACTOR shall ensure that the Waste Management of Non-Hazardous and Hazardous materials in all contract activities is identified, controlled and managed in accordance with Oman LNG Waste Management Procedure HSV-P101.

    - CONTRACTOR must provide training to all staff on identification and segregation of waste in agreement with COMPANY Waste Management Procedure.

  - Management of Change (MOC)

CONTRACTOR shall have a management of change procedure that uses the application of management principles to a change situation to prevent unforeseen consequences. Changes include, but are not limited to, process changes, procedural changes and organisational changes. The management of change procedure shall also cover permanent changes, temporary changes and emergency changes. CONTRACTOR’S MOC procedure shall be reviewed and approved by COMPANY.

  - HSE Promotional and Awareness Events

All CONTRACTOR personnel shall attend and participate in COMPANY HSE Promotional and Awareness events as advised by COMPANY.

  - Fitness to Work (FTW)

    - The CONTRACTOR shall ensure that the FTW programme complies with the local regulations.

    - The CONTRACTOR shall identify all job tasks requiring evaluation of FTW.

    - The CONTRACTOR shall establish a FTW programme to ensure that all CONTRACTOR personnel engaged in the WORK are medically and physically fit to perform their work.

    - The CONTRACTOR shall verify that employees complete the FTW evaluations, and an employee deemed unfit for the task until the FTW evaluations are completed and the person is deemed fit.

    - The CONTRACTOR shall identify any employee who may not be fit for work and only assign work to employees who are fit for the work.

    - The CONTRACTOR shall refer an employee to a health professional approved by the COMPANY when there is a concern about the individual’s FTW, or before an employee returns to work following an injury or illness that could affect FTW.

    - The CONTRACTOR shall review any work restrictions provided by the health professional approved by the COMPANY and subsequently approve changes in work assignment or return to work of employees.

    - The COMPANY shall retain the right to request medical assessments on CONTRACTOR workforce more frequently should it so desire. The examining physician may recommend increasing the frequency of periodic assessments, if clinically indicated, such as in those persons with chronic, but not disqualifying conditions. In some circumstances specific vocational testing may be required, for example visual acuity, audiometry. CONTRACTOR personnel are required to be in possession of valid certificates of medical fitness at all times. COMPANY reserves the right to examine original medical examination certificates to confirm their authenticity.

  - Workers Welfare

    - CONTRACTOR shall develop and maintain a workers’ welfare plan that shall be submitted to COMPANY for approval. This shall cover as a minimum:

a.	Worker accommodation and living conditions.

b.	Communication and feedback channels that ensure inclusion of all CONTRACTOR personnel (no matter what their position in the organisation).

c.	Sports and Recreation (internal & external)

d.	Communication and Creativity

e.	Education (general and local issues)

f.	Basic General Services

g.	Psychological/Social Support

h.	Access to Primary Health Care and Medical Emergency Response

i.	Social events/gathering (e.g. religious events, national day celebrations etc.)

j.	Development and implementation of carefully planned programs/activities aimed at addressing people's wellness/welfare holistically: Sports, Recreation and Cultural Programme – to not only strengthen the body but also to bring people from all walks of life together in camaraderie, friendship and the pursuit of excellence.

k.	Communication and Creativity Programme – addressing the language barriers – multiple language newsletters, other interest’s groups and activities like language classes, training to enhance or develop new competencies etc.

l.	Communication with family – Provision of Wi-Fi internet.

m.	Psychological/Social Support Network - a support initiative designed to alleviate distress and promote positive mental health among the workers.

    - CONTRACTOR shall provide and maintain welfare facilities for CONTRACTOR Personnel. These facilities shall be constructed to cater for the number of CONTRACTOR personnel based at the Site and shall include as minimum the following:

a.	Food - quality, choice and quantity:

- 3 nutritionally balanced meals per day containing sufficient calories in relation to the work demands (minimum 3,000 calories daily and minimum 100g edible proteins at each meal);

- The catering service shall take into account the diversity of nationalities and shall have in place different sets of menus accommodating the respective religious and national/international tastes;

- The content of afternoon and evening meals shall be varied, repetitive presentation of dishes shall be avoided, menus shall have a minimum 7- day rotation; and provide fresh fruit with breakfast, lunch and dinner; at least two (2) variations of fruit types per day.

- Recreation facilities:

- General Services - ensuring essential services such as catering, accommodations, housekeeping, laundry, banks, religious needs and maintenance are available.

- Entertainment plans (e.g. sports, cultural events, national day celebrations, etc.);

- The maximum ratio of toilets and showers to numbers of personnel:

- Shower (with door/curtain) – 1 per 4 persons,

- Toilets – (private, lockable cubicle) 1 per 6 persons,

- Hand basins with hot and cold water – 1 per 6 persons,

- Urinals – 1 per 12 men.

- Welfare officer/focal point (independent of camp boss)

- CONTRACTOR shall identify the main celebration dates of the various nationalities and religious groups mobilized to site and shall plan suitable celebrations, entertainment and special foods accordingly.

- Additional Welfare Items: On COMPANY’S formal request, CONTRACTOR shall provide additional welfare items to the workforce at the workplace. Note that these items do not cover the items which CONTRACTOR shall provide to their workforce in order to implement the agreed Worker Welfare Plan to meet the Omani regulations, COMPANY’s specifications and/or HEMP identified risk controls etc. This may include, but not limited to the following:

- Warm clothing in the event of abnormally cold temperatures;

- Insulated drinks bottles;

- Others to be specified by COMPANY e.g. Hi-Viz vests.

  - General Camp Facilities

All camp facilities shall comply with the Oman Society for Petroleum Services (OPAL) Camp standard with document number OPAL–STD-HSE-02 Rev 0.

    - Housing and Living Facilities

      - Mess rooms shall have sufficient seating capacity and have the following features:

- Proper construction materials shall be used.

- Sufficient windows shall be provided.

- Sufficient electronic fly-killers shall be provided.

- Wash-hand basins shall be fixed outside mess halls. The basins shall be provided with soap and paper towels.

- All doors, windows and other openings shall be provided with fly screens.

- Proper ventilation including fans and/or air-conditioning shall be provided.

- Suitable lighting shall be provided.

      - Food shall only be consumed in mess rooms. No food preparation or cooking shall be allowed in sleeping quarters.

    - Living Accommodation

Living accommodation shall have the following features:

- The accommodation shall be constructed in such a manner as to provide protection against moisture and wind, and shall be adequately screened against insects.

- The accommodation shall be provided with a finish that can be cleaned easily, and shall be maintained in a clean condition.

- Purpose built caravans, portacabins etc. may be used for accommodation.

- A lockable cupboard (locker) shall be provided for each occupant for keeping belongings. Hanging of clothes on the wall shall be avoided.

- Windows shall as far as possible be fixed on opposite sides to provide through-ventilation, and fitted with fly screens.

- Air conditioning shall be provided in addition to ceiling or self-standing fans as required.

    - Toilet Facilities

Toilet facilities shall have the following features:

- Toilet facilities, showers and wash basins shall be provided.

- Proper and sufficient light and ventilation/air-conditioning shall be provided.

- All toilets and other sanitary facilities shall be kept clean and in working order.

- The floors, walls and ceilings of sanitary conveniences shall be of a finish that can be cleaned easily.

- Water closets, lavatories, urinals, sinks and showers shall be made from materials that facilitate cleaning.

- Showers and lavatories shall be provided with an adequate supply of water; the floor of the shower shall have adequate drainage and shall be made of material to prevent fungus infections of the feet. Hot and cold water shall be provided to all wash basins and showers. Liquid soap in dispensing containers shall be supplied to all communal sanitary conveniences.

- All waste water including floor-washing water shall be connected to a disposal drain and disposed of in accordance with Government regulations.

    - Catering and Food Hygiene

Catering facilities shall have the following features:

- Kitchen staff shall have the mandatory training requirements for food handlers as per OPAL Camp Standard.

- The kitchen shall be constructed of proper material.

- Floor shall be of concrete, durable, non-absorbent, non-slip, and without joints and crevices in which dirt, bacteria and insects can lodge. Angles and junctions between floor and wall shall be coved. To prevent ingress of pests, a concrete plinth of at least 30-cm height shall be constructed all-round the structure.

- Walls shall be smooth, impervious, light in colour and durable from floor to ceiling.

- A ceiling shall be provided which is smooth, fire-resistant, light coloured, coved at wall joints and easy to clean.

- No item shall be kept on window ledges. All windows shall be fixed with mesh fly screens.

- Kitchen shall be air-conditioned. A hood shall be fixed over cooking ranges and an extractor fan of a suitable size.

- Kitchen shall be well lit. For general working areas the light shall be of not less than 300 Lux intensity.

- The walls, floors and ceilings in all premises where food is stored, prepared, or served shall be of a finish that can be cleaned easily.

- In premises where cereals are stored, racks shall be provided for bagged cereals so that the lower layer of bags is at least 30 cm above floor levels unless pest proof storage bins are provided.

- Equipment or furnishings that come into contact with food, or are likely to come into contact with food, shall be made of impervious materials to facilitate cleansing and to prevent contamination of food.

- Doors shall be tight fitting and self-closing with a fly mesh. Swing doors shall have sight panels.

- Kitchens shall be fitted with an adequate number of suitable sinks, and such sinks shall be provided with a sufficient supply of hot and cold water for the requirements of clean catering.

- Each kitchen shall have a pantry for storing day to day items. The pantry shall have shelves and benching of at least 30 cm high for storing dry food items or alternatively plastic/metal bins with tight fitting lids shall be provided.

- Sufficient refrigerators and freezers shall be provided.

- In large kitchens a defrosting cold cabinet (refrigerator) shall be provided for thawing of frozen meat/chicken. Frozen food, especially meat and chicken, shall not be defrosted on rings or at room temperature.

- All food items shall be stored in a well-lit and air-conditioned room.

- Food shall be stored in such a way as to ensure good stock rotation, viz: “first-in”, “first-out” practice shall be observed.

- All dry food shall be stored on benches of at least 30 cm height. Metal or plastics bins with tight fitting covers may be used for loose grains, flour, etc. Wooden pallets shall not be used for keeping food off the floor.

- As far as possible the walls shall be left clear of stored foodstuff. Nothing shall be stored underneath benches.

- Shelves shall have a non-absorbent clean finish. Tubular mobile racking made of non-corroding metal is recommended. Cupboards shall be avoided.

- Cleaning chemicals, detergents, mops, and brushes shall not be kept in food stores.

- A store shall always be kept in a clean and tidy condition and free of any spillage and pests.

- Suitable and adequate cold storage and refrigeration equipment shall be provided to keep foodstuff as follows:

    - Frozen food at -18 Degree C.

    - Chilled food at -3 to 1 Degree C.

    - Refrigerated Food from 1 to 4 Degree C.

It is essential that these temperatures are maintained at all times.

- All cooked food shall be kept separate from uncooked foodstuff to prevent cross-contamination.

- Fish and fish products shall be stored in a separate freezer.

- Separate freezer(s) shall be provided for pork and pork products (if required).

- Walk-in freezers/chillers shall be provided with metal shelves and good lighting. A thermometer gauge shall be fixed outside the unit to give temperature readings of the equipment.

- Sufficient fire extinguishers in kitchen and mess rooms shall always be available.

    - Drinking Water

Drinking water shall comply with the following:

- Occupants shall have access to clean and free of charge potable water at all times in accordance with local drinking water standards (Omani Standard 8/2012) and/or WHO standards.

- Drinking water quality shall be regularly monitored and tested. The responsible person appointed by the Camp Owner shall collect water samples using clean, sterilized and preserved bottles and send it to the Ministry of health or approved laboratory for bacteriology and chemicals analysis.

- Depending on climate and weather conditions, 80 to 180 liters per person per day shall be available.

- Potable water shall be available to occupants in the same buildings where bedrooms or dormitories are provided.

- Cold water supply shall be available including communal buildings and recreation centers.

- Bacteriological testing in water storage tanks shall be done monthly.

- A reserve capacity in the water tank to hold the potable supply at least for 24 hours for all residents shall be provided.

- All tanks used for the storage of drinking water shall be constructed and covered as to prevent water stored therein from becoming polluted or contaminated.

- Sufficient potable water per person per day shall be provided.

- Water shall be stored in clean, rust proof galvanised or reinforced fiberglass tanks, properly disinfected and insulated so as to avoid excessive temperatures.

- A proper water tanker or trailer shall be used solely for transporting potable water. On the water tanker shall be clearly written in Arabic and English the words ‘POTABLE WATER’.

    - Pest and Vector Control

      - The major pests in the region are flies, mosquitoes, snakes and scorpions.

      - CONTRACTOR shall:

- Provide a pest control service for their camp facilities.

- Provide proper and sufficient equipment and pesticides.

- Train its personnel (1 or 2 persons) in the operation of spraying equipment and on safe handling of pesticides.

- Provide protective clothing for operators that shall include coveralls, rubber gloves, proper respiratory protection and goggles.

      - General cleaning and good housekeeping shall always be maintained and shall be the basis of any pest control program.

    - HSE Compliance

CONTRACTOR HSE shall provide details on the accommodation maintenance cycle in order to comply with all stated requirements.

# ATTACHMENTS

  - Attachment 1 – Reference Documentation

    - CONTRACTOR shall adhere and comply at all times to the standards, policies and procedures set forth in the reference documentation (“Reference Documents”) listed below as well as any other local regulations and COMPANY procedures, policies, guidelines and work instructions applicable to its scope of work.

    - CONTRACTOR shall ensure it has access to these Reference Documents and any updates thereto. In the event CONTRACTOR does not have access to these Reference Documents, CONTRACTOR shall immediately request COMPANY to provide access to these Reference Documents.

    - CONTRACTOR shall monitor updates to these Reference Documents.

    - CONTRACTOR is accountable to obtain necessary documentation and procedures based on WORK to be executed.

    - COMPANY reserves the right to update, modify or revise any of the Reference Documents at any time in COMPANY’S sole discretion. In the event that COMPANY decides to implement any update to the Reference Documents listed below, COMPANY will issue an instruction to CONTRACTOR. CONTRACTOR shall ensure that hard copies or electronic copies of the Reference Documents listed below are readily available to all staff for which they are relevant, including at the WORKSITE and that all staff for which they are relevant are fully familiar with their content.

    - Reference Documents are listed in the table below:

http://omanlng.co.om/en/HSSE/Pages/hsse-info-guidance-for-contractors.aspx

| 1 | Oman Occupational Health and Safety Regulations (MD286) | A Legal Document and contractors are expected to have their own copy |
| --- | --- | --- |
| 2 | NG-P008 Oman LNG HSE Policy.pdf | Available at link to OLNG Website |
| 3 | NG-P037 Oman LNG Road Safety Policy.pdf | Available at link to OLNG Website |
| 4 | NG-P023 Oman LNG Smoking Policy.pdf | Available at link to OLNG Website |
| 5 | NG-P024 Oman LNG Alcohol and Drugs Policy.pdf | Available at link to OLNG Website |
| 6 | NG-P041 Security Policy.pdf | Available at link to OLNG Website |
| 7 | NG-P021 Oman LNG Quality Policy.pdf | Available at link to OLNG Website |
| 8 | NG-P063 OLNG Contractors' HSE Management Procedure.pdf | Available at link to OLNG Website |
| 9 | HSS-P001 General Safety Rules.pdf | Available at link to OLNG Website |
| 10 | NG-P085 OLNG Life Saving Rules Procedure.pdf | Available at link to OLNG Website |
| 11 | NG-P002 HSSE Management System Manual.pdf | To be provided on Request |
| 12 | HSS-P009 Qalhat safety regulation for work under permit.pdf | Available at link to OLNG Website |
| 13 | NG-P049 Procedure for QHSE Mandatory Training.pdf | Available at link to OLNG Website |
| 14 | HSS-P008 Personal Protective Equipment.pdf | Available at link to OLNG Website |
| 15 | NG-P005 OMAN LNG Road Safety Procedure.pdf | Available at link to OLNG Website |
| 16 | EN-P004 OLNG HSSE HEMP Procedure.pdf | To be provided on Request |
| 17 | HSS-P005 Procedure for Working at Height.pdf | Available at link to OLNG Website |
| 18 | TMC-P016 Procedure For Task Risk Assessment | Available at link to OLNG Website |
| 19 | OPE-P109 OLNG Permit To Work (PTW) Procedure | Available at link to OLNG Website |
| 20 | GA-P001 Permit To Work in Non-operational Area | Available at link to OLNG Website |
| 21 | HSS-P007 Selection training and authorisation of PTW signatories | Available at link to OLNG Website |
| 22 | NG-P015 Incident Investigation and Learning Procedure.pdf | Available at link to OLNG Website |
| 23 | ENI-P002 Procedure For Insp. and Testing of lifting equipment.pdf | Available at link to OLNG Website |
| 24 | TMC-P018 Lifting And Hoisting Procedure | Available at link to OLNG Website |
| 25 | HSO-P009 Procedure for Manual Handling Assessments.pdf | Available at link to OLNG Website |
| 26 | HSS-P003 TOOL BOX TALKS.pdf | Available at link to OLNG Website |
| 27 | HSS-P006 Safety Walk Guide.pdf | Available at link to OLNG Website |
| 28 | NG-T022 OLNG Contractors HSSE Meeting.pdf | Available at link to OLNG Website |
| 29 | HSS-P002 OLNG Emergency Response plan.pdf | Available at link to OLNG Website |
| 30 | HSO-P008 Heat Illness Prevention Procedure.pdf | Available at link to OLNG Website |
| 31 | HSO-P002 Guideline For Medical Evaluation Of Fitness To Work.pdf | To be provided on Request |
| 32 | HSO-P010 Fatigue Risk Management Plan. | Available at link to OLNG Website |
| 33 | HSO-P006 OLNG Procedure For Health Risk Assessments | To be provided on Request |
| 34 | HSO-P007 OLNG Hearing Conservation Procedure | To be provided on Request |
| 35 | NG-P036 Alcohol-Drug- Guideline.pdf | Available at link to OLNG Website |
| 36 | HSV-P001 Waste Management Procedure.pdf | Available at link to OLNG Website |
| 37 | NG-P027 Security General Procedures Manual.pdf | Available at link to OLNG Website |
| 38 | NG-P045 Oman LNG Pandemic Contingency Plan | To be provided on Request |
| 39 | Dropped Object Management Guide ( HS-P003) | To be provided on Request |
| 40 | HSO-P011 WORKER WELFARE ASSURANCE STANDARDS | To be provided on Request |

  - Attachment 2 - COMPANY HSSE / Social Performance Policy

  - Attachment 3 - Life Saving Rules